IoT based health monitoring system | Arduino Project

IoT based patient health monitoring system using Arduino and generic ESP8266. The proposed project can collect and send patient’s health data

Required Components:

- Jumper Wires

- Arduino Uno R3

- 16x2 Character Display

- 9v Battery

- ESP8266 ESP-01

- Rotary Potentiometer, 10k

- DS18B20 Digital Temperature Sensor

- Heart Beat Heart Rate Sensor Module Max 3010x

- Active Buzzer

- Led Lights

Project Description:

Developing an IoT-based health monitoring system that focuses on measuring body temperature and heart rate.

The system uses internet-enabled medical sensors to record these vital signs in real time, transmit the data to a remote server or application, and generate alerts if any abnormal values are detected. This allows continuous monitoring of a patient’s basic health condition and ensures timely intervention when necessary.

By this definition, it includes devices such as smart-watches, fitness trackers, smart-phones to expensive hospital equipment which can connect to internet.

IoT based health monitoring system is used where the patient and heath expert(s) are at different locations. For example, a patient can stay at home and continue his/her routine life and a doctor can monitor patient’s heath. Based on the received data the heath expert can prescribe a best treatment or take an immediate action in case of an emergency.

Circuit Diagram: